Modelling and Simulation of Static Var Compensator with Matlab BOUDJELLA.Houari F.Z. Gherbi, S. Hadjeri and F. Ghezal Laboratory of Intelligent Control and Electrical Power System Department of electrical engineering, Faculty of sciences and engineering Djillali Liabes University, Sidi Bel Abbes, Algeria. boudj_h@yahoo.fr Abstract- This paper presents the modelling and simulation of Static Var Compensator (SVC) in power system studies by MATLAB. SVC is a shunt device of the Flexible AC Transmission Systems (FACTS) family using power electronics to control power flow and improve transient stability on power grids. In the first step, we have modelled mathematically with MathCAD how to analyze the rating of SVC. In second step, we have conferred modelling of SVC in power system to analyze its behaviour operating with in control range and outside of control range and how to perform power system studies which is anchored with load flow analysis for SVC realization. In the third step, we have been modelling separately the SVC transfer functions with open control loop in the respective control elements: measuring module, thyristor susceptance control module and voltage regulator module, and we have used lag/led compensators theories to configure open and close loop transfer function with respective gain/phase margin. at the end oneself is going to see the effect of renting of a svc on the transmission line